## Guidance notes
Guidance notes
Ratings are in line with the ODEP ratings system shown on the ratings system tab
1 | Each submission should represent an individual product i.e. no mixed cohorts.
2 | Where there is a brand family, each variant should be treated as a different product and a separate submission is required
3 | Submissions for products where the design has changed should only include data for the current variant.
4 | Each clinical reference requires a separate clinical data sheet to be submitted
5 | Data submitted must be representative of all data available. Any variation should be highlighted on the Prosthesis Fields tab
6 | The country / region of the Implanting Centres should be the same as that of the data source in the Clinical Data Sheet(s).
7 | PROMs data should be submitted with the total number and proportion of patients with PROMs recorded. The name of the PROM score should be included with the result
8 | Ankle replacement products are classified based on the tibial component.

## Prosthesis Fields
Ankle Prosthesis Data
Prosthesis details (complete a separate page for each variant if several components share the same brand name)
Implant Type (please select from the drop-down) | [5 empty] | →
Manufacturer
Distributor (if different)
Implant brand (and variant if applicable) - this will be published on the ODEP website
Product Codes and Sizes | [6 empty] | Please provide on the "Product codes" sheet detailing individual product numbers and descriptions
Please provide a product image (as a separate attachment or inserted into the Product Image sheet) | [6 empty] | A .jpg or a .png file, photo taken against white background, best size 300x300px, resolution 200dpi. This could be used on the ODEP website.
Date of this submission
Technical design features
Component material(s), finish and technical design features.
Fixation
Design history
Date of first use
Tibia Implant | Tibial Implant fixation | Tibial Implant articulation | Talus Implant | Talus implant fixation
Date of first clinical use, Global
Date of the original CE mark
Date of the latest CE mark renewal (new MDR)
Date of first clinical use in UK (if applicable)
Have any design changes been made?
If 'Yes', please give details and dates of modifications
Please confirm that all data submitted relates to the latest design
Please give justification if 'No'
Please give justification if No
Benchmark claimed (select from dropdown list) | [5 empty] | →
Select the current ODEP rating for this product. If none, select "No Rating" | [5 empty] | →
The year when the current rating has been granted (if applicable) | [5 empty] | →
If known, what is the listing URL (the exact address of the webpage) on the ODEP website? | [6 empty] | https://www.odep.org.uk/product/
Tick the box if this is a Beyond Compliance product
Is the clinical data submitted for this product representative of the results of all studies or other clinical data in relation to it?
Have any Field Safety Notices (FSNs) or similar notices been issued / served for this product since the current rating was given? If 'Yes', please provide further details in the comments box NB ODEP will make a decision as to whether this information to have a bearing on the submission, but knowingly failing to declare any FSNs could lead to the rating being removed.
Please give details of, and reasons for, data that has been omitted that does not indicate similar or better results than that submitted on the attached Clinical Data Templates
BC
No
Yes
Yes
No

## Product Image
Please insert an image
Can this image be used on the ODEP website?
Yes
No

## Product codes
Product code listing
A submission and subsequent rating will be based upon the product codes provided. Addition of any further products to the benchmark range will need approval by ODEP and may require a separate submission
® Please only include the product codes relating to the construct being submitted, to ensure that ratings can be tracked by product code as well as brand.
® This information needs to be provided in the table form below and a separate code for each size (no ranges)
® Please ensure Component Type is included, e.g. Tibial component, Talar component, bearings etc.
Supplier | Product Brand/Name | Product Description | Product Code | Component Type | Fixation

## Clinical data sheet 1
Reference Type |  | Reference:
Please insert full details of the reference source. See guidance notes.
For "Registry data" - the applicant agrees that ODEP can confirm the accurate use of the data with the registry involved
For "In-house data" - the applicant confirms that the in-house data used for this submissions complies with ISO 14155:2020 standards
Cohort Prosthesis Details brands and variants (as applicable)
Tibial Component
Tibial Component fixation
Tibial Component articulation (bearing)
Talar Component
Talar Component fixation
Clinical Study Details | Total Cohort |  | Comments:
Number of centres |  |  | Please give justification for any cells left blank and provide explanatory comments
Number of surgeons implanting
Is the study by product developer (designer surgeon)?
if yes, please provide details of the study in the comments box
Clinical Study Design (please select from dropdown list)
Patients and Clinical Results (all implants in study)
Total number of patients
Number of males (%)
Number of females (%)
Mean age of patients and range (years)
Diagnosis:
OA
RA
Other Inflammatory Arthropathy
Trauma
Infection
Metastatic cancer / malignancy
Other
Total number of implants in cohort
Number of implants lost due to patients death:
(explain death rate if above 35% in comments box)
Number of implants lost to follow-up
Number of implants revised for any reason
Number of implants surviving at end of study
Number of patients examined in person
Number of patients examined by questionnaire/telephone review
Mean follow-up and range (years) of implants in full cohort
Reasons for revision / re-operation in full cohort (multiple responses allowed) | Number | Percentage
Infection - previous
Infection -active
Aseptic loosening Tibial Componenet |  |  | Recall Notices
Aseptic Loosening Talar Componenet |  |  | Have ‘Recall’ notices ever been issued for any of the variants submitted and what actions have been taken.
Lysis Tibia
Lysis Talus |  |  |  | (select from dropdown)
Malalignment |  |  | If yes, please describe the actions taken
Periprosthetic Fracture
Implant fracture Tibial componnet
Implant fracture Talar component
Implant fracture Meniscal component
Wear of polyethylene component
Meniscal insert dislocation
Component migration/dissocation
Unexplained pain
Stiffness
Soft tissue impingement
If the joint was revised, what was revision procedure? | Number | Percentage
Prosthetic replacement not using cement
Prosthetic replacement using cement
Ankle fusion (subtalar joint not fused at this sitting)
Ankle and subtalar fusion (using TTC nail)
Ankle and subtalar fusion (not using TTC nail)
Pantalar fusion
Debridement and Implant Retention (DAIR) with modular exchange
Modular exchange for indications other than infection
Prosthetic replacement not classified elsewhere (eg hybrid)
Kaplan-Meier Survivorship
Kaplan Meier survival time in years
Number of implants remaining at risk at Kaplan Meier survival time
| Early Revision | Late Revision | 95% Confidence Interval
Cumulative Revision Rate (1 - Survival) |  |  | Lower CI | Upper CI
All failure modes - any component revised
Yes
No
Note on C25: Please ensure that the range is detailed.
Note on C45: Please ensure that the range is entered
Note on B81: Within the first twelve months

## PROMs
Ankle PROMs
Complete one spreadsheet per reference
Reference:
Reference Type |  | State the origin of the data source
Peer reviewed publication
Conference presentation/poster
Data available for peer review
National registry
Comments:
Clinical Study Design
RCT
Comparative study
Unselected consecutive cohort
Selected cohort
PROMs collection (you should provide data for AT LEAST one PROM instrument
| % completed | Pre-op | Post-op / 6 months | 1 Year | 3 year | 5 year | 7 year | 10 years
VAS
MOXFQ
FAAM
AOFAS
EQ5D
Other validated joint-specific PROMs
† the linked, validated PROMs should be initial post operative scores linked with the benchmark year PROM scores eg 5 years post op for the 5A* rating
‡ this PROMS data does not have to be from the dataset NJR Cohort

## Rating System
Criteria - Total Ankle Replacement / Total Talus Replacement
Criteria - A* Ratings | 3A* | 5A* | 7A*
Minimum number of centres outside development centre(s) | 3 | 3 | 3
Minimum total cohort | 100 | 125 | 150
Minimum at risk at benchmark time | 50 | 75 | 100
Maximum revision rate ‡ | 5% | 7% | 10%
Mandatory linked PROMS score (any validated score on at least 50% of minimum at risk patients)
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Criteria - A Ratings | 3A | 5A | 7A
Minimum number of centres and surgeons | 3 | 3 | 3
Minimum total cohort | 100 | 125 | 150
Minimum at risk at benchmark time | 50 | 75 | 100
Maximum revision rate ‡ | 5% | 7% | 10%
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Criteria - B Ratings | 3B | 5B | 7B
Minimum number of centres and surgeons | 1 | 1 | 1
Minimum total cohort | 30 | 30 | 30
Minimum at risk at benchmark time | 10 | 10 | 10
Maximum value of 95% lower CI for revision rate | 5% | 7% | 10%
Pre-Entry A* | Pre-Entry
Product launched under Beyond Compliance | Products details provided to ODEP
For Public Release
2024-09-16

## Post Market clinical follow-up
The following information is required for all studies (published or unpublished) initiated by the manufacturer for all products applied for all benchmarks
Prosthesis | Implanting centres | Number of surgeons | Cohort size | Methodology of study

## Implanting Centres
Please use this sheet to list all centres represented by the data in this submission.
Centre Name (required) | Number implanted over previous 12 month period (Optional)
| Full brand family | Construct under submission

## Ref (hidden)
Randomised Controlled Trial
Comparative study
Unselected consecutive cohort
Selected cohort
National registry
Hospital Registry
Company database
Other Registry or database (please describe in comments box)

## Version Control (hidden)
v 1.0 | 2023-10-06 | Version 1
v 1.1 | 2023-10-04 | Minor tweaks finalised by the lead
v 1.2 | 2024-01-31 | Criteria approved by the Panel; approval for publication received