## Guidance notes
Guidance notes
Updated July 2024
This update to the ODEP form is intended to ensure that the panel is fully aware of the nature and scope of variations in design and materials within a brand (or brand variant) submitted for a rating.
Where clinical data is available for different variants within a brand, manufacturers are encouraged to make separate submissions with the associated data for the specified set of product codes. However, we appreciate that this may not be possible with some sources of clinical data. In those cases, full disclosure of which variants are included in the clinical data is essential for a rating to be applied.
It has always been ODEP’s policy to encourage manufacturers to analyse the clinical data available to them on their products. Now that increasingly detailed data is available through registries you will be strongly encouraged to analyse this for the purposes of a rating.
Ratings are in line with the ODEP ratings system shown on the ratings system tab
1 | Please see the website - ODEP Methodology for Spine
2 | ODEP will only accept registry data which has been published in the latest data available from that registry. Where data from publications and public presentations is used, it will only be accepted within 2 years of publication. For in-house validated data, ODEP will only accept contemporaneous data. ODEP may request manufacturers to validate any in-house data that they use.
3 | Submissions for products where the design has changed should only include data for the current variant.
4 | Ratings will only be awarded where ALL requested data fields are completed in full on ALL sheets.
5 | Each clinical reference requires a separate clinical data sheet to be submitted.
6 | Under the heading diagnosis more than one diagnosis is acceptable.(More than one box can be ticked)
7 | The number of revisions to be entered into the submission form must include all records in the cohort for : Replacement with another implant, removal of the implant and fusion, removal of the implant leaving the space empty, front or back fusion at the same level with the replacement being left in place.
8 | ODEP for spine consider subsequent "adjacent segment surgery" as an important metric when assessing the success of disc replacement. It carries equal weighting to revision. If the incidence of adjacent segment surgery exceeds the level set at the benchmark the request for the benchmark will be rejected
9 | At present ODEP does not benchmark implants which are specifically used in a revision situation.
10 | Data submitted must be representative of all data available. Any variation should be highlighted on the Prosthesis Fields tab
11 | Reasons for rejection: - Revision rate (including all operations described under the heading "revision" is in excess of the benchmark, taking into account of the confidence intervals -Number of adjacent segment surgeries is in excess of the upper limit for that benchmark
12 | PROMS. ODEP for spine encourages manufacturers to collect PROMS. It is therefore ODEPs recommendation that manufacturers should collect a standard Spine PROM for at least 50 patients who have the device. PROMS are required for A* ODEP ratings. ODEP may request to see the data if they feel so inclined.
13 | Dual ratings with and without PROMS: It is acknowledged that manufacturers may well have longer term data on their implant than the timeframe for the PROMS that they have acquired. In this case, ODEP will consider providing a *rating subject to the results.

## Prosthesis Fields
Cervical Disc Replacement
Prosthesis details (complete a separate page for each variant if several components share the same brand name)
Implant Type | →
Manufacturer
UK Distributor (if different)
Implant brand (and variant if applicable)
Product Codes and Sizes |  | Please provide on the "Product codes" sheet detailing individual product numbers and descriptions
Please provide a product image (as a separate attachment or inserted into the Product Image sheet) |  | A .jpg or a .png file, photo taken against white background, best size 300x300px, resolution 200dpi. This could be used on the ODEP website.
The date (year) of the first ODEP award for this product
Date of this submission
Technical design features
Component material(s), finish and technical design features.
Fixation
Design history
Date of first use
Date of first clinical use, Global
Date of the original CE/UKCA mark
Date of the latest CE mark renewal (new MDR)
Date of first clinical use in UK (if applicable)
Have any design changes been made?
If yes, please give details and dates of modifications
Please confirm that all data submitted relates to the latest design
Please give justification if No
Benchmark Claimed (select from drop-down list) >>>
Does this product have current ODEP rating?
If "Yes", year rated
If known, what is the listing URL (the exact address of the webpage) on the ODEP website? |  | http://www.odep.org.uk/product/
Tick the box if this is a Beyond Compliance product
Is the clinical data submitted for this product representative of the results of all studies or other clinical data in relation to it?
Have any Field Safety Notices (FSNs) or similar notices been issued / served for this product since the current rating was given? If "Yes", please provide further details in the comments box NB ODEP will make a decision as to whether this information to have a bearing on the submission, but knowingly failing to declare any FSNs could lead to the rating being removed.
Please give details of, and reasons for, data that has been omitted that does not indicate similar or better results than that submitted on the attached Clinical Data Templates
BC
No
Yes
Yes
No
If "Yes", select the rating >>>
Yes
No
Yes
No
No
Yes
Yes
No
Yes
No
No
Yes
Yes
No
Yes
No
No
Yes
Yes
No
Yes
No
No
Yes
Yes
No
Yes
No
Note on A10: A submission and subsequent rating will be based upon the product codes provided. Addition of any further products to the benchmark range will need approval by ODEP and may require a separate submission

## Product Image
Please insert an image
Can this image be used on the ODEP website?
Yes
No

## Product codes
Product code listing
® Please only include the product codes relating to the construct being submitted, to ensure that ratings can be tracked by product code as well as brand.
® This information needs to be provided in the table form below and a separate code for each size (no ranges)
Supplier | Product Brand/Name | Product Description | Product Code | Component Type

## Clinical data sheet 1
Reference Type |  | Reference:
Please select a value from the drop-down lists >>> |  | Please insert full details of the reference source. See guidance notes.
For "Registry data" - the applicant agrees that ODEP can confirm the accurate use of the data with the registry involved
For "In-house data" - the applicant confirms that the in-house data used for this submissions complies with ISO 14155:2020 standards
Clinical Study Details | Total Cohort |  |  | Comments:
Number of centres |  |  |  | Please give justification for any cells left blank and provide explanatory comments.
Number of surgeons implanting
Is the study by product developer (designer surgeon)?
if yes, please provide details of the study in the comments box
Patients and Clinical Results (all implants in study) | Number | Percentage
Total number of patients
Number of males (%)
Number of females (%)
Mean age of patients and range (years)
Diagnosis: | Number | Percentage
Radiculopathy
Myelopathy
Neck pain
Other
Total number of implants in cohort
Number of implants lost due to patients death:
Number of implants lost to follow-up
Number of implants revised for any reason
Number of implants surviving at end of study
Number of secondary adjacent segment surgical procedures
Mean follow-up and range (years) of implants in full cohort
Intraoperative adverse events (excluding revision reasons) | Number | Percentage
Dural tear
End plate fracture
Nerve root injury
Spinal cord injury
Surgical approach issues
Other / Other Description
Post-operative adverse events (excluding revision reasons) | Number | Percentage
Migration
Subsidence
Heterotropic ossification
Osteolysis
Other
| Mean | Range
Mean post-operative adverse event time and range (years) of implants in full cohort
Reasons for revision in full cohort | Number | Percentage
Infection
Malposition/malalignment
Mechanical implant failure (e.g.: displacement of the footplates or the insert)
Aseptic loosening
Implant failure
Wear
Conversion to fusion
Other
| Revision Rate | 95% Confidence Interval
Cumulative Revision Rate (1 - Survival) |  | Lower CI | Upper CI
All failure modes
No
Yes
No
Yes
Yes
No
Yes
No
Note on C17: Please ensure that the range is detailed.
Note on C32: Please ensure that the range is entered
Note on C49: Please ensure that the range is entered

## PROMs
Source of PROMS
Complete one spreadsheet per reference / study
Reference:
Reference Type
Peer reviewed publication
Conference presentation/poster
Data available for peer review
Comments:
Clinical Study Design
RCT
Comparative study
Unselected consecutive cohort
Selected cohort
National registry
PROMs collection
| % completed | Pre-op | Post-op / 6 months | 1 Year | 3 year | 5 year | 7 year | 10 years
VAS Neck
VAS Arm
EQ-5D
SF-12
SF-36
mJOA
Myelopathy Disability Index
NDI
COMI
Other validated cervical spine PROMs
† the linked, validated PROMS should be initial post operative scores linked with the benchmark year PROM scores eg 5 years post op for the 5A* rating

## Rating System
Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A*
Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3
Minimum total cohort | 100 | 150 | 200 | 250
Minimum at risk at benchmark time | 100 | 125 | 150 | 175
Maximum revision rate (to include interbody fusions, removal and replacement, fusion with replacement left in situ) | 3% | 5% | 7% | 10%
Percentage of patients who have undergone adjacent segment surgery | 3% | 5% | 7% | 10%
Mandatory linked PROMS score (any validated score on at least 50 patients) available | 50 | 50 | 50 | 50
Criteria - A Ratings | 3A | 5A | 7A | 10A
Minimum number of centres and surgeons | 3 | 3 | 3 | 3
Minimum total cohort | 100 | 150 | 200 | 250
Minimum at risk at benchmark time | 40 | 40 | 40 | 40
Maximum revision rate (to include interbody fusions, removal and replacement, fusion with replacement left in situ) | 3% | 5% | 7% | 10%
Percentage of patients who have undergone adjacent segment surgery | 3% | 5% | 7% | 10%
Voluntary linked PROMS score (any validated score on at least 50 patients) not available | 0 | 0 | 0 | 0
Criteria - B Ratings | 3B | 5B | 7B | 10B
Minimum number of centres and surgeons | 1 | 1 | 1 | 1
Minimum total cohort | 50 | 50 | 50 | 50
Minimum at risk at benchmark time | 10 | 10 | 10 | 10
Maximum value of 95% lower confidence limit for revision rate. (Revisions to include Removal, replacement and fusion) | 3% | 5% | 7% | 10%
Percentage of patients who have undergone adjacent segment surgery | 3% | 5% | 7% | 10%
Voluntary linked PROMS score (any validated score on at least 50 patients) Available / Not available | 0 | 0 | 0 | 0
Pre-Entry A* | Pre-Entry
Product launched under Beyond Compliance | Products details provided to ODEP

## Post Market clinical follow-up
The following information is required for all studies (published or unpublished) initiated by the manufacturer for all products applied for all benchmarks
Prosthesis | Implanting centres | Number of surgeons | Cohort size | Methodology of study

## Implanting Centres
Please use this sheet to list all centres represented by the data in this submission.
Centre Name (required) | Number implanted over previous 12 month period (Optional)
| Full brand family | Brand Variant under submission

## Version Control (hidden)
Date | Version | Change
2022-05-01 | 1 | Introduced
| 1.1 | Added Intraoperative and postoperative complications. Removed KM and replaced with revision rate.